SECTION {SecNo} — HANDLING, STORAGE, AND ON-SITE CONTROLS

If hazardous materials will be stored or handled at a State or local facility, the Contractor shall implement appropriate controls to prevent spills, releases, or unsafe conditions. The Contractor shall coordinate with the Agency’s designated safety officer regarding storage locations, access restrictions, and emergency procedures.